#### SARASOTA COUNTY GOVERNMENT

SARASOTA, FLORIDA

Planning and Development Services-Inspections and Permitting

1001 Sarasota Center Blvd.     Sarasota, Florida 34240

Telephone: (941) 861-6708     Fax: (941) 861-6470       E-mail:    tkunz@scgov.net

**For Online Permit Review or Inspection Status, visit our site at: www.@scgov.net. Click the link on the left side of the page entitled “Building Permits”, then “Building Permitting Online”, then “Permit Search/Report Information”, then enter a permit number or address.

To:       Mark

From:	 Tracy Kunz, Plans Examiner

Re:	 16- 152850 BA

Date:    11-01-16

The Permitting Services Center of the Planning & Development Services Business Center has been mandated to provide a permit application review, including all associated documentation to verify conformance to all applicable Building Code requirements and Life Safety Standards.  We provide this service to promote the public safety, health, and welfare of the citizens of Sarasota County as well as to assist the contractors and design professionals in the course of their duties.

Provide (2) copies of the following:

- The manufactured building submitted for permit application is required to be approved and certified by the State of Florida. The manufactured building shall be approved for 150 mph (3) second gust wind load criteria for the Sarasota County area. See the code section below regarding approval and certification requirements.

2016 FL Statutes Chapter 553 Part 1, section 553.37 Rules, Inspections, Insignias.

4. With respect to components, inspect at least 75 percent of the manufactured building components and at least 20 percent of the storage sheds that are not designed for human habitation and that have a floor area of 720 square feet or less.

(2) The department shall adopt rules to address:

(a) Procedures and qualifications for approval of third-party plan review and inspection agencies and of those who perform inspections and plan reviews.

(b) Investigation of consumer complaints of noncompliance of manufactured buildings with the Florida Building Code and the Florida Fire Prevention Code.

(c) Issuance, cancellation, and revocation of any insignia issued by the department and procedures for auditing and accounting for disposition of them.

(d) Monitoring the manufacturers’, inspection agencies’, and plan review agencies’ compliance with this part and the Florida Building Code. Monitoring may include, but is not limited to, performing audits of plans, inspections of manufacturing facilities and observation of the manufacturing and inspection process, and onsite inspections of buildings.

(e) The performance by the department and its designees and contractors of any other functions required by this part.

(3) After the effective date of the Florida Building Code, no manufactured building, except as provided in subsection (12), may be installed in this state unless it is approved and bears the insignia of approval of the department and a manufacturer’s data plate. Approvals issued by the department under the provisions of the prior part shall be deemed to comply with the requirements of this part.